SPHSC/NEUBEH/PSYCH/E E/ENGR 5XX

Fundamentals of Research Instrumentation for Non-Engineers

Summer quarter, 9:30-10:30 am MWF, 3 credits

grading is 25% for each of 3 mid-terms, no final, 25% pass/fail homework -

to encourage peer discussion, homework answers submitted by group.  expectation is that all groups can pass all homeworks with and get 100% for this portion of the grade.

Textbooks:  {insert electronics-for-dummies-type book here}; Hartwig, Basic TV Technology

Why learn electronics?

- you should buy, not build, but what should you buy?

- example application:  IDL's experience with temperature controllers

- safety of you & your experimental subjects

- your equipment's safety

- acquiring quality signal data means proper transduction, amplification, filtering, sampling

- acquiring quality video data means proper frame size, frame rate, algorithm and medium

- presenting quality stimuli without cueing means proper refresh rate, gamma,

DC electronics

- volts = ohms * amps, watts = volts * amps

- electrical safety (skin & blood as conductors, sensitivity of heart to current)

- demonstration with hand water pump - voltage as pressure, current as flow

- absolute and relative voltage - analogous to absolute vs. gauge pressure in water pump, or falling from helicopter at 14,000 feet to mountain at 13,999 feet

- 15 minute video:  high-voltage line maintenance

- in-class exercise - batteries, incandescent lightbulbs, and VOM use

- in-class exercise - potentiometers, thermistors, photoresistors

- example application - switch-deactivatable blicket box

- example application - modifying hair dryer for microscope heater use

- special topic:  relays - demonstration of electromagnet, discussion of relays

AC electronics

- AC a series of DC cases

- safety (50-60 Hz best at inducing fibrillation, rules of thumb:  110 VAC?  keep one hand in pocket.  220 VAC?  keep both hands in pockets.)

- power distribution (hot, ground, neutral, and 60 Hz noise)

- in-class exercise - use VOM (properly!) to verify proper wall outlet operation

- demonstration - use of a relay to control AC with DC

- example application - use of relays to control trial AC lights & DC bear reinforcers for head turn system

Capacitors

- safety (they're the only unsafe thing in an unplugged/no-batteries device)

- demonstration with rubber membrane blocking clear tube - membrane stops DC component, stores energy, passes high frequencies

Frequency Spectra

- graphic equalizer display of frequency content of changing signal, equivalence of time & frequency domain representations

- separability of signal and noise in frequency domain

- capacitor as low-frequency blocker, or used to short out high-frequencies

- demonstration with frequency generator, capacitor, incandescent bulb

Transistors

- in-class exercise - battery, potentiometer, single BJT amp - small change in gives large change out

- demonstration - BJT without the plastic case is even smaller

- integrated circuits

- IC and BJT amplifiers as comparators (and thus digital elements...)

- in-class exercise - thermistor, BJT, incandescent bulb as thermoregulating system

Digital Electronics

- voltages as high/low, on/off, 1/0, 0-5V

- there are 2^N unique states for a circuit with N switches, use binary system to systematically associate states with numbers

- bits and bytes, e.g. 24-bit color

- how numbers physically exist in a computer

- the computer bus/cards as interface to outside world

- example application:  reaction time system - lights lit, buttons pressed, juice solenoid opened

Sampling

- example A to D circuit on computer card - 8 comparators in parallel yielding 3-bit A to D

- using gain and offset before A to D conversion for best results

- undersampling and Nyquist

- monitor pixels as samples

- in-class exercise - view different photocopied gratings through different photocopied transparencies of gratings

- demonstration - familiar signal (heart trace) initially obscured by undersampling

Hardware/Software equivalence

- discussion of logical equivalence

- example D to A circuit, software as circuit substitute

- microcontrollers as headless computers for special deployments

- example application:  the head turn box

Video

- CRT scanlines, phosphors, color pallete, interlacing, frame rate

- LCD monitor differences from CRTs

- DVI vs. 15-pin RGB

- storage media and formats, video as a bandwidth challenge for current computers

- camera, video card, and monitor gammas

- video-enhanced contrast

- example application - the visual acuity system